Industrial Waste Water Management Important Questions

UNIT-5

- Explain manufacturing process, origin, characteristics, effects, and treatment methods of liquid waste from steel plants, textiles, and Paper & pulp industries.

UNIT-4

- Explain problems associated with discharge of industrial waste water into streams, lakes, and oceans.

- Explain advantages, suitability, limitations, and challenges in Common effluent treatment plants.

UNIT-3

- Explain the necessity of equalization and proportioning for industrial wastewater treatment.

- Discuss: Volume reduction and strength reduction.

- Explain the process of industrial waste water sampling and preservation samples for analysis.

- Discuss the application of zero discharge technology based on three R principles.

- Explain unit operations and processes involved in industrial waste water treatment

UNIT-2

- Discuss the use of Municipal waste water in industries

- Explain the following advanced water treatment methods with neat sketch

- Adsorption

- Reverse Osmosis

- Ion Exchange

- Ultra filtration

- Explain method for removal of iron and manganese from Industrial waste water.

- Explain method for removal of odour and colour from Industrial waste water.

UNIT-1

- Explain the various water quantity and quality requirements for the food processing industry?

- Explain the various water quantity and quality requirements for the textile industry?

- Explain the various water quantity and quality requirements for the power plants?

- Explain the various water quantity and quality requirements for the fertilizers?

- Explain the types of water used in industry.